## Sheet1
|  |  | Engineering World Health | [8 empty] | 111 South Highland, Suite 289
Memphis, TN 38111
901-624-2036
|  | Complete electronically if possible | [9 empty] | www.ewh.org
* REQUIRED FIELD
| *DATE | 2012-08-06 |  |  | *ENGINEER NAME(S) |  |  |  |  | Ray Zhang, Rishahb Jethanandani
| *COUNTRY | Tanzania |  |  | *Hospital/CITY |  |  |  |  | Kibosho Hospital
| EQUIPMENT INFORMATION |  |  |  | NATURE OF THE PROBLEM & SOLUTION | [7 empty] | Results
| Equipment TYPE (select the type from the EWH equipment types) | Manufacturer | Model | Serial Number | Plumbing | Motor | Electric | Mechanical | Power Supply | Isntallation/Training | Other | Notes | Repaired | Abandoned
1 | Electronic Suction Device | [9 empty] | X | Fixed filter | X
2 | Mechanical Suction Device | [6 empty] | X |  |  |  | Re-assembled with welding | X
3 | Operating Light x 2 | [5 empty] | X |  |  |  |  | Replaced with correct light bulb | X
4 | Personal Weight Scale | [6 empty] | X |  |  |  | Re-assembled displaced parts/calibration | X
5 | Infant Weight Scale | [6 empty] | X |  |  |  | Re-assembled displaced parts/calibration | X
6 | Full-body Scale | [6 empty] | X |  |  |  | Maintenance/calibration | X
7 | Ultrasound | [9 empty] | X | Removed attached broken printer. Can only be used for preliminary evaluations | X
8 | C-arm X-ray | [9 empty] | X | Re-positioned screen. Must fix temperature sensor but still works. Needs radiation evaluation | X
9 | Oxygen Concentrator | [5 empty] | X |  |  |  |  | Fixed reset button | X
10 | Surgical Lights x 2 | [5 empty] | X |  |  |  |  | Replaced 6 light bulbs | X
11 | Electrrical Outlets in Maternity | [5 empty] | X |  |  |  |  | Made 2 new power outlets | X
12 | Wheelchair x 2 | [6 empty] | X |  |  |  | Re-assembled broken foot-rest | X
13 | Hot Plate | [5 empty] | X |  |  |  |  | Re-wired live cable/epoxy temp knob | X
14 | Digital Thermometer | [5 empty] | X |  |  |  |  | Replaced Battery | X
15 | Vortex (Laboratory) |  |  |  |  | X | X |  |  |  |  | Broken motor/transformer |  | X
16 | Voltage Stabilizer | [5 empty] | X |  |  |  |  | Short circuit in transformer |  | X
17 | Dental ESU | [5 empty] | X |  |  |  |  | Fried circuits/replaced fuse | X
18 | Anesthesia Machine | [9 empty] | X | Missing parts |  | X
19 | X-Ray film printer | [9 empty] | X | Prolonged exposure/too strong intensity | X
20 | Ultrasound printer | [5 empty] | X |  |  |  |  | Unconclusive |  | X