## Work Summary Form
Engineering World Health
www.ewh.org
Complete electronically if possible
* REQUIRED FIELD
| *DATE | 2013-07-18 |  |  | *ENGINEER NAME(S) |  |  |  |  | Kendall Covington, Mary Kate Hardy, Allie Hyans
| *COUNTRY | Nicaragua |  |  | *Hospital/CITY |  |  |  |  | Chinandega Puesto de Salud
| EQUIPMENT INFORMATION |  |  |  | NATURE OF THE PROBLEM & SOLUTION | [7 empty] | Results
| Equipment TYPE (select the type from the EWH equipment types) | Manufacturer | Model | Serial Number | Plumbing | Motor | Electric Simple | Mechanical Simple | Power Supply | Isntallation/Training | Other | Notes | Repaired | Abandoned
GUIDE
EXAMPLE1 | Ultrasound Machine (imaging) | ATL Ultrasound | HDI-5000 | 00W295 | [5 empty] | 1 |  | Machine was decommissioned previously |  | 1
EXAMPLE2 | Centrifuge | Gemmy | KHT-430 | 313139 |  |  |  | 1 |  |  |  | Rubber Seal was stiff, cut down to ensure fit | 1
1 | Microscope | Olympus | CX21FS1 | 8H01942 |  |  |  | 1 |  |  |  | Stage sliding a little bit, so greased gears and did general cleaning. | 1
2 | Centrifuge | KK | PLC-50 | 306706 |  |  | 1 |  |  |  |  | Wouldn't turn on, found a cold joint and resoldered it and the machine works. Missing a foot and there were no replacements or resources to be found. Machine jumps a lot when turning and cannot function without all the suction feet. Told technicians to ask around for spare parts at other hospitals, especially Espana where we know there are broken centrifuges with extra footsies. |  | 1
3 | Microscope | LW Scientific | Revelation III | 3212 |  |  |  | 1 |  |  |  | Gears were worn down so the stage was sliding. |  | 1
4 | Centrifuge | Becton Dickinson | Compact II | 35003190301 | [6 empty] | 1 | Lab workers complained it makes loud noises, tested and appeared fine. Urged them to balance correctly when in use. Cleaned. | 1
5 | Nebulizer | Mada Medical Products | No. 180 | NN013076 |  |  |  | 1 |  |  |  | Cleaned the motor. Cleaned the housing. Spiders. | 1
6 | Nebulizer | Mada Medical | Model 180 | PP002967 |  |  | 1 |  |  |  |  | Replaced a blown fuse. Cleaned. Mary Kate used her immense strength to twist the housing output so that it pointed straight up. Wow she is amazing. | 1
7 | Autoclave | Appar Medico Sanitari |  |  |  |  | 1 |  |  |  |  | Dry heat sterilizer. Replaced plug. Repaired switch. Intense cleaning. | 1
8 | Nebulizer | Salter Labs | Salter Aire Plus 8350 | 792501 | 1 | [6 empty] | The machine was working but the hose being used was missing a part so the nurses thought the machine was broken. Cleaned out more spiders. | 1
9 | Microscope | Olympus | CX 31 | 3004216 | [6 empty] | 1 | Cleaned it real good. | 1
10 | Spectrophotometer | Human | Humanalyzer 2000 | 2500-6040 |  |  | 1 |  |  |  |  | Replaced lightbulb. Could not fix printer. And of course, cleaned. | 1
11 | Nebulizer | Medical Depot Inc. | Power Neb I | 13351 |  |  |  | 1 |  |  |  | Air was insufficient to nebulize. Cleaned motor. Bingo. | 1
12 | Nebulizer | Devilbiss | PulmoAide | 4120937 |  |  |  | 1 |  |  |  | Insufficient air. Cleaned motor and hoses. Bingo. | 1
13 | Nebulizer | Salter Labs | Salter Aire Plus | 792479 |  |  |  | 1 |  |  |  | Cleaned motor and filter. | 1
14 | Centrifuge | LW Scientific | LW Combo-V24 | 8102717 |  |  |  | 1 |  |  |  | Cleaning. | 1
15 | Microscope | Olympus | CX 21 |  |  |  |  | 1 |  |  |  | Knob that changes light intensity was a little loose, but unable to access easily. Cleaned. | 1
16 | Centrifuge | Kokusan | H-1200 F | 4571186431200 |  |  |  | 1 |  |  |  | Hematocrit centrifuge. Cleaned out broken glass and blood. Probably could have used a new rubber padding seal thingy, but not available. Returned to service. | 1
17 | Centrifuge | Kokusan | H 103 N | 129183 |  |  | 1 |  |  |  |  | External voltage stablizer that provided power was broken and needed new breakers. Replaced with a grounded plug for a wall outlet that can be used until voltage regulator is repaired. | 1
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100

## Equipment Categories
Air Compressor
Air Conditioner
Anesthesia Machine
Aspirator/Suction Machine
Autoclave (lab, surgery, and other)
Automatic Voltage Regulator
Bed, delivery
Blood Bank Refrigerator
Blood clotting time meter
Blood electrolyte analyzer
Blood Gas Analyzer
Blood Pressure Device, Automatic (NIBP)
Blood Pressure Device, Manual (Sphygmomanometer) (Fixed or portable)
Bottle Washing Machine
Breast Pump
Capnograph
Ceiling Fan
Centrifuge
Centrifuge (electric or hand operated)
Change Over Switch
Computer
Control Switch Panel
Defibrillator (automatic and manual)
Dental Drilling Machine
Dialysis Equipment
Distiller
Drying Machine
ECG Machine
Electrosurgery Unit (ESU)
Fetal steth (fetoscope or Doppler)
Fluoroscopy (x-ray moving images)
Furniture (chairs, tables, and beds)
Generator
Glucose level kit (or glucometer)
Heart Lung Machine
Hot Plate (laboratory, but not kitchen)
Incubator (infant)
Infant Warmer (radiant or other)
Infusion pumps
Iron (for clothing)
Lamp, examination
Lamp, surgical
Laryngoscope
Microscope
Operating Table
Ophthalmoscope (eye examination instrument)
Otoscopes
Oven (laboratory, not kitchen)
Oxygen Concentrator
Pacemaker (ext, temp and permanent)
Photocopier
Phototherapy device
Printer
Projector
Pulse Oximeter
Respiration monitor (apnea monitor)
Scales (laboratory and in wards)
Shaker Machine (laboratory)
Skin Grafting Machine (dermatome)
Spectrophotometer/Colorimeter
Stethoscopes
Telephone
Television
Thermometers
Transformer
Ultrasound Machine (imaging)
UPS (battery backup for computer)
Vaccine Refrigerator
Vacuum Extractor (for delivery)
Washing Machine
Water Bath (laboratory)
Water Pump (for drinking water)
Water Purifier (for lab, in wards)
X-Ray Film Dryer
X-Ray Film View Box
X-Ray Machine
Other

## Reports
Repair ID | Hospital | Date | Engineers | Country | Entry # | Equipment TYPE (select the type from the EWH equipment types) | Manufacturer | Model | Serial Number | Plumbing | Motor | Electric Simple | Mechanical Simple | Power Supply | Isntallation/Training | Other | Notes | Repaired | Abandoned
Hospital Amistad Japon, GRANADA29/07/121 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 1 | Ultrasound Machine (imaging) | ATL Ultrasound | HDI-5000 | 00W295 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | Machine was decommissioned previously | 0 | 1
Hospital Amistad Japon, GRANADA29/07/122 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 2 | Centrifuge | Gemmy | KHT-430 | 313139 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | Rubber Seal was stiff, cut down to ensure fit | 1 | 0
Hospital Amistad Japon, GRANADA29/07/123 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 3 | Ultrasound Machine (imaging) | Diagnostic Ultrasound System | 4900 606-LV300 | BCA1146 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | Machine was decommissioned previously | 0 | 1
Hospital Amistad Japon, GRANADA29/07/124 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 4 | Ultrasound Machine (imaging) | GE Medical Systems | 2205675 | 65361SM8 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | Machine was decommissioned previously | 0 | 1
Hospital Amistad Japon, GRANADA29/07/125 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 5 | Autoclave (lab, surgery, and other) | HillMed | HM-Armada 1045 | 301575 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | Repaired door seals | 1 | 0
Hospital Amistad Japon, GRANADA29/07/126 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 6 | Autoclave (lab, surgery, and other) | Napco | 8000 DSE | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Cleaned electrical connections | 1 | 0
Hospital Amistad Japon, GRANADA29/07/127 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 7 | Dental Drilling Machine | Actus | TU-85N | 6647 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | Air and Water tubing was clogged | 1 | 0
Hospital Amistad Japon, GRANADA29/07/128 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 8 | Dental Drilling Machine | Actus | TU-85N | 6646 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Foot pedal was previously unresponsive | 1 | 0
Hospital Amistad Japon, GRANADA29/07/129 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 9 | Centrifuge | Gemmy | KHT-M30 | 313471 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | Carbon Brushes were replaced | 1 | 0
Hospital Amistad Japon, GRANADA29/07/1210 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 10 | Respiration monitor (apnea monitor) | Pulma-Aide | 0 | D3C4551 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | Air tubing was clogged | 1 | 0
Hospital Amistad Japon, GRANADA29/07/1211 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 11 | Respiration monitor (apnea monitor) | Sunrise | 0 | 14-6-4-315-4 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | Air tubing and filter were clogged | 1 | 0
Hospital Amistad Japon, GRANADA29/07/1212 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 12 | Aspirator/Suction Machine | Gomco | Premier Series | 1240 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Preventative maintenance on motor | 1 | 0
Hospital Amistad Japon, GRANADA29/07/1213 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 13 | Respiration monitor (apnea monitor) | Memmert | 0 | WB7 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | Air tubing was clogged | 0 | 1
Hospital Amistad Japon, GRANADA29/07/1214 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 14 | Respiration monitor (apnea monitor) | Sunrise | 5650D | D35973161 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Preventative maintenance | 1 | 0
Hospital Amistad Japon, GRANADA29/07/1215 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 15 | Respiration monitor (apnea monitor) | GAST | 0 | 1206605309 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | Preventative maintenance | 1 | 0
Hospital Amistad Japon, GRANADA29/07/1216 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 16 | Aspirator/Suction Machine | Nellcor Puriton Bennett | Radiation Adult Star 1500 | 4200071485 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Ran self-diagnostic test, Preventative mainenance | 1 | 0
Hospital Amistad Japon, GRANADA29/07/1217 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 17 | Respiration monitor (apnea monitor) | GAST | NO180 | 1105625805 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | Cleaned electrical connections | 1 | 0
Hospital Amistad Japon, GRANADA29/07/1218 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 18 | Aspirator/Suction Machine | TAWANISHI | Tipo-1000 | 6313 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | Replace tubing, reconnect electrical connections, cleaned system | 1 | 0
Hospital Amistad Japon, GRANADA29/07/1219 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 19 | Distiller | Kayagaki | WS-5 | 49865 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | Balanced to make less noisy | 1 | 0
Hospital Amistad Japon, GRANADA29/07/1220 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 20 | Centrifuge | Gemmy | PLC-05 | 702949 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Reconnect wires | 1 | 0
Hospital Amistad Japon, GRANADA29/07/1221 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 21 | X-Ray Machine | Siemens | SC3-3 | 8C34-30 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Preventative maintenance | 1 | 0
Hospital Amistad Japon, GRANADA29/07/1222 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 22 | X-Ray Machine | Siemens | SC3-3 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Preventative maintenance | 0 | 1
Hospital Amistad Japon, GRANADA29/07/1223 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 23 | Aspirator/Suction Machine | Gamco | 6036 | P-7123 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | Increased suction, fixed wheels on bottom | 1 | 0
Hospital Amistad Japon, GRANADA29/07/1224 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 24 | Air Conditioner | Carrier | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | Preventative maintenance | 0 | 1
Hospital Amistad Japon, GRANADA29/07/1225 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 25 | Air Conditioner | Carrier | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | Preventative maintenance | 0 | 1
Hospital Amistad Japon, GRANADA29/07/1226 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 26 | Air Conditioner | Carrier | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | Preventative maintenance | 0 | 1
Hospital Amistad Japon, GRANADA29/07/1227 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 27 | Air Conditioner | Carrier | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | Preventative maintenance | 0 | 1
Hospital Amistad Japon, GRANADA29/07/1228 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 28 | Air Conditioner | Carrier | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | Preventative maintenance | 0 | 1
Hospital Amistad Japon, GRANADA29/07/1229 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 29 | Air Conditioner | Carrier | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | Replaced | 0 | 1
Hospital Amistad Japon, GRANADA29/07/1230 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 30 | Air Conditioner | Carrier | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | Replaced | 0 | 1
Hospital Amistad Japon, GRANADA29/07/1231 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 31 | Air Conditioner | Carrier | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | Cleaned fan components | 1 | 0
Hospital Amistad Japon, GRANADA29/07/1232 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 32 | Air Conditioner | Carrier | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | Cleaned fan components | 1 | 0
Hospital Amistad Japon, GRANADA29/07/1233 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1234 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1235 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1236 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1237 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1238 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1239 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1240 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1241 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1242 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1243 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1244 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1245 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1246 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1247 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1248 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1249 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1250 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1251 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1252 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 52 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1253 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1254 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1255 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1256 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1257 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 57 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1258 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1259 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1260 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1261 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1262 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1263 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 63 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1264 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1265 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1266 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1267 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1268 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1269 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1270 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1271 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1272 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1273 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 73 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1274 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1275 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1276 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1277 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1278 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1279 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 79 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1280 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 80 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1281 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1282 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1283 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1284 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 84 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1285 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1286 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1287 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1288 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1289 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1290 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1291 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 91 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1292 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 92 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1293 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1294 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 94 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1295 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1296 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1297 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1298 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/1299 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hospital Amistad Japon, GRANADA29/07/12100 | Hospital Amistad Japon, GRANADA | 29/07/12 | Scott Tyler, Anish Raman | Nicaragua | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0