## Work Summary Form
|  |  | Engineering World Health | [8 empty] | The Prizery, Suite 200
302 East Pettigrew Street
Durham, NC 27701
|  | Complete electronically if possible | [9 empty] | www.ewh.org
* REQUIRED FIELD
| *DATE | 2014-07-21 |  |  | *ENGINEER NAME(S) |  |  |  |  | John Asmal and Arihant Jain
| *COUNTRY | Tanzania |  |  | *Hospital/CITY |  |  |  |  | Kibosho Hospital/Moshi
| EQUIPMENT INFORMATION |  |  |  | NATURE OF THE PROBLEM & SOLUTION | [7 empty] | Results
| Equipment TYPE (select the type from the EWH equipment types) | Manufacturer | Model | Serial Number | Plumbing | Motor | Electric Simple | Mechanical Simple | Power Supply | Isntallation/Training | Other | Notes | Repaired | Abandoned
1 | Thermometer | Spengler |  |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | Battery is dead | 1 | 0
2 | Thermometer | Geratherm |  |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Power Button is missing, replace the power button and put in new batteries. | 1 | 0
3 | Thermometer | Spengler |  |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | Battery is missing | 1 | 0
4 | Thermometer | Spengler |  |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | Battery is dead | 1 | 0
5 | Thermometer | Spengler |  |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | Battery is dead | 1 | 0
6 | Thermometer | Spengler |  |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | Battery is missing | 1 | 0
7 | CPAP machine | Respironic Incs | REMstar plus domestic | 1005960 | 0 | 0 |  | 0 | 0 | 1 | 0 | New Machine. Teaching Tech how to work, and seeing if it functions
8 | Sphygmomanometer | Riester | Ri-san No 1521 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | Needle doesn't move
9 | Sphygmomanometer | Riester | Ri-san No 1521 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | pressure doesn’t release fast enough
10 | Peristalic Pump | Abbott | Petrol Enternal Pump |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | New machine. Does not turn on. Blown fuse and blown capacitor. Recharging the battery as well.
11 | Stethoscope | Riester | Duplex |  | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Diaphragm missing. | 1 | 0
12 | Thermometer | Spengler |  |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | Display is malfunctioning. Works at certain angles | 1 | 0
13 | Thermometer | Spengler |  |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | Battery is dead
14 | Thermometer | Spengler |  |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | Battery is dead
15 | Thermometer | Spengler |  |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | Battery is missing
16 | Sterilizers | Melag |  | 4375
17 | Autoclave | KSG | KSG115 | 7219 |  |  | 0 |  | 1 |  |  | Power doesn't turn on sometimes. Intermittent Problems. Will check again if it doesn't work. | 1 | 0
18 | Pulse Oximeter | Nellcor | N-595 | G02802092 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | Needed to change the power plug from American to African and make user guide. | 1 | 0
19 | Patient Monitor | Marquette | 30000 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | Needed to change the power plug from American to African and make user guide. | 1 | 0
20 | Oxygen Concentrator | Weinmann | Oxymat | [7 empty] | 1 | Not producing oxygen | 0 | 1
21 | Heater | Sonashi |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 1 | The Halogen tubes are blown, can't replace it | 0 | 1
22 | Surgical Lamp | Heraeus | Hanaulux Oslo | 3233 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Loose connection between the socket and the light bulb. | 1 | 0
23 | Oxygen Concentrator | Kröber | Kröber O2 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | Fused blown. | 0 | 1
24 | Other |  |  |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Helped install heading lights. | 1 | 0
25 | Electric Sphygmomanometer | AND | UA-767 |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Replace the batteries and now gives consistent measurements | 1 | 0
26 | Pulse Oximeter | MEK | MP 110 | 110P-07D-0410 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Probe isn't working and the contrast wasn't well. Was able to adjust the contrast by changing the resistence inside the cirucit, and got the probe to work. | 1 | 0
27 | Stethoscope |  |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | Able to create a rubbing eartip | 1 | 0
28 | Overheadl Lamp |  |  |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Solder a loose connection. | 1 | 0
29 | Intraoral video camera | DentalScout | P2000 |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | Was able to connect to the monitor to illustrate the camera's view and made a quick guide on how to use it. | 1 | 0
30 | Monitor | Sony | Trinitron |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | Was able to connect to the camera and to the Color Printer and made a quick guide on how to use it | 1 | 0
31 | Color Video Printer | Sony | UP-1200AEPM |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | Was able to connect to the minotor and fix paper tray that kept jamming the printing paper and made a quick guide on how to use it. | 1 | 0
32 | Other |  |  |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | PET cart: Assemble it for a patient. | 1 | 0
33 | Other |  |  |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | PET Cart: Had to Adjust the cart and assemble to match the size of the patient | 1 | 0
34 | Dental Chair | [7 empty] | 1 |  |  | Sealed cracked plastic | 1 | 0
35 | Electric Sphygmomanometer | AND | UA-767 |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Sensor is not working | 0 | 1
36 | Autoclave | Melag | Autoklav S23 |  | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Cleaned the Autoclave and replaced bolt. | 1 | 0
37 | Reflex Hammer |  |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | Replaced rubber hammer head | 1 | 0
38 | Cast Saw | Stryker |  |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | Tested and gave a transformer for it. | 1 | 0
39 | Surgical Lamp | Heraeus | Hanaulux Oslo |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Loose connection between the socket and the light bulb. | 1 | 0
40 | Dental Chair |  |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | There's a suction problem and plubbing problem | 0 | 1
41 | Stethoscope |  |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | Diaphragm missing and was replaced. | 1 | 0
42 | Stethoscope |  |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | Air tube change | 1 | 0
43 | Stethoscope |  |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | Air tube change | 1 | 0
44 | Stethoscope |  |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | Had to weld the broken piece onto the stethoscope. | 1 | 0
45 | Stethoscope |  |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | Had to weld the broken piece onto the stethoscope. | 1 | 0
46 | Transformer | [11 empty] | 1 | 0
47 | Heater | [11 empty] | 1 | 0
48 | Microscope |  |  |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Replace the batteries. | 1 | 0
49 | Ultrasound | Siemens | Sonoline Prima |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | Gave a quick guide on how to write patient's name and how to label on the image. | 1 | 0
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100

## Equipment Categories
Air Compressor
Air Conditioner
Anesthesia Machine
Aspirator/Suction Machine
Autoclave (lab, surgery, and other)
Automatic Voltage Regulator
Bed, delivery
Blood Bank Refrigerator
Blood clotting time meter
Blood electrolyte analyzer
Blood Gas Analyzer
Blood Pressure Device, Automatic (NIBP)
Blood Pressure Device, Manual (Sphygmomanometer) (Fixed or portable)
Bottle Washing Machine
Breast Pump
Capnograph
Ceiling Fan
Centrifuge
Centrifuge (electric or hand operated)
Change Over Switch
Computer
Control Switch Panel
Defibrillator (automatic and manual)
Dental Drilling Machine
Dialysis Equipment
Distiller
Drying Machine
ECG Machine
Electrosurgery Unit (ESU)
Fetal steth (fetoscope or Doppler)
Fluoroscopy (x-ray moving images)
Furniture (chairs, tables, and beds)
Generator
Glucose level kit (or glucometer)
Heart Lung Machine
Hot Plate (laboratory, but not kitchen)
Incubator (infant)
Infant Warmer (radiant or other)
Infusion pumps
Iron (for clothing)
Lamp, examination
Lamp, surgical
Laryngoscope
Microscope
Operating Table
Ophthalmoscope (eye examination instrument)
Otoscopes
Oven (laboratory, not kitchen)
Oxygen Concentrator
Pacemaker (ext, temp and permanent)
Photocopier
Phototherapy device
Printer
Projector
Pulse Oximeter
Respiration monitor (apnea monitor)
Scales (laboratory and in wards)
Shaker Machine (laboratory)
Skin Grafting Machine (dermatome)
Spectrophotometer/Colorimeter
Stethoscopes
Telephone
Television
Thermometers
Transformer
Ultrasound Machine (imaging)
UPS (battery backup for computer)
Vaccine Refrigerator
Vacuum Extractor (for delivery)
Washing Machine
Water Bath (laboratory)
Water Pump (for drinking water)
Water Purifier (for lab, in wards)
X-Ray Film Dryer
X-Ray Film View Box
X-Ray Machine
Other

## Reports
Repair ID | Hospital | Date | Engineers | Country | Entry # | Equipment TYPE (select the type from the EWH equipment types) | Manufacturer | Model | Serial Number | Plumbing | Motor | Electric Simple | Mechanical Simple | Power Supply | Isntallation/Training | Other | Notes | Repaired | Abandoned
Kibosho Hospital/Moshi 418412 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 2 | Thermometer | Geratherm | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Power Button is missing, replace the power button and put in new batteries. | 1 | 0
Kibosho Hospital/Moshi 418413 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 3 | Thermometer | Spengler | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | Battery is missing | 1 | 0
Kibosho Hospital/Moshi 418414 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 4 | Thermometer | Spengler | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | Battery is dead | 1 | 0
Kibosho Hospital/Moshi 418415 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 5 | Thermometer | Spengler | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | Battery is dead | 1 | 0
Kibosho Hospital/Moshi 418416 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 6 | Thermometer | Spengler | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | Battery is missing | 1 | 0
Kibosho Hospital/Moshi 418417 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 7 | CPAP machine | Respironic Incs | REMstar plus domestic | 1005960 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | New Machine. Teaching Tech how to work, and seeing if it functions | 0 | 0
Kibosho Hospital/Moshi 418418 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 8 | Sphygmomanometer | Riester | Ri-san No 1521 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | Needle doesn't move | 0 | 0
Kibosho Hospital/Moshi 418419 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 9 | Sphygmomanometer | Riester | Ri-san No 1521 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | pressure doesn’t release fast enough | 0 | 0
Kibosho Hospital/Moshi 4184110 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 10 | Peristalic Pump | Abbott | Petrol Enternal Pump | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | New machine. Does not turn on. Blown fuse and blown capacitor. Recharging the battery as well. | 0 | 0
Kibosho Hospital/Moshi 4184111 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 11 | Stethoscope | Riester | Duplex | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Diaphragm missing. | 1 | 0
Kibosho Hospital/Moshi 4184112 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 12 | Thermometer | Spengler | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | Display is malfunctioning. Works at certain angles | 1 | 0
Kibosho Hospital/Moshi 4184113 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 13 | Thermometer | Spengler | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | Battery is dead | 0 | 0
Kibosho Hospital/Moshi 4184114 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 14 | Thermometer | Spengler | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | Battery is dead | 0 | 0
Kibosho Hospital/Moshi 4184115 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 15 | Thermometer | Spengler | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | Battery is missing | 0 | 0
Kibosho Hospital/Moshi 4184116 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 16 | Sterilizers | Melag | 0 | 4375 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184117 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 17 | Autoclave | KSG | KSG115 | 7219 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | Power doesn't turn on sometimes. Intermittent Problems. Will check again if it doesn't work. | 1 | 0
Kibosho Hospital/Moshi 4184118 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 18 | Pulse Oximeter | Nellcor | N-595 | G02802092 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | Needed to change the power plug from American to African and make user guide. | 1 | 0
Kibosho Hospital/Moshi 4184119 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 19 | Patient Monitor | Marquette | 30000 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | Needed to change the power plug from American to African and make user guide. | 1 | 0
Kibosho Hospital/Moshi 4184120 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 20 | Oxygen Concentrator | Weinmann | Oxymat | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Not producing oxygen | 0 | 1
Kibosho Hospital/Moshi 4184121 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 21 | Heater | Sonashi | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | The Halogen tubes are blown, can't replace it | 0 | 1
Kibosho Hospital/Moshi 4184122 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 22 | Surgical Lamp | Heraeus | Hanaulux Oslo | 3233 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Loose connection between the socket and the light bulb. | 1 | 0
Kibosho Hospital/Moshi 4184123 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 23 | Oxygen Concentrator | Kröber | Kröber O2 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | Fused blown. | 0 | 1
Kibosho Hospital/Moshi 4184124 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 24 | Other | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Helped install heading lights. | 1 | 0
Kibosho Hospital/Moshi 4184125 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 25 | Electric Sphygmomanometer | AND | UA-767 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Replace the batteries and now gives consistent measurements | 1 | 0
#REF! | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Kibosho Hospital/Moshi 4184126 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 26 | Pulse Oximeter | MEK | MP 110 | 110P-07D-0410 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Probe isn't working and the contrast wasn't well. Was able to adjust the contrast by changing the resistence inside the cirucit, and got the probe to work. | 1 | 0
Kibosho Hospital/Moshi 4184127 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 27 | Stethoscope | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | Able to create a rubbing eartip | 1 | 0
Kibosho Hospital/Moshi 4184128 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 28 | Overheadl Lamp | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Solder a loose connection. | 1 | 0
Kibosho Hospital/Moshi 4184129 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 29 | Intraoral video camera | DentalScout | P2000 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | Was able to connect to the monitor to illustrate the camera's view and made a quick guide on how to use it. | 1 | 0
Kibosho Hospital/Moshi 4184130 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 30 | Monitor | Sony | Trinitron | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | Was able to connect to the camera and to the Color Printer and made a quick guide on how to use it | 1 | 0
Kibosho Hospital/Moshi 4184131 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 31 | Color Video Printer | Sony | UP-1200AEPM | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | Was able to connect to the minotor and fix paper tray that kept jamming the printing paper and made a quick guide on how to use it. | 1 | 0
Kibosho Hospital/Moshi 4184132 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 32 | Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | PET cart: Assemble it for a patient. | 1 | 0
Kibosho Hospital/Moshi 4184133 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 33 | Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | PET Cart: Had to Adjust the cart and assemble to match the size of the patient | 1 | 0
Kibosho Hospital/Moshi 4184134 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 34 | Dental Chair | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | Sealed cracked plastic | 1 | 0
Kibosho Hospital/Moshi 4184135 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 35 | Electric Sphygmomanometer | AND | UA-767 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Sensor is not working | 0 | 1
Kibosho Hospital/Moshi 4184136 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 36 | Reflex Hammer | Melag | Autoklav S23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Cleaned the Autoclave and replaced bolt. | 1 | 0
Kibosho Hospital/Moshi 4184137 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 37 | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | Replaced rubber hammer head | 1 | 0
Kibosho Hospital/Moshi 4184138 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 38 | Cast Saw | Stryker | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | Tested and gave a transformer for it. | 1 | 0
Kibosho Hospital/Moshi 4184139 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 39 | Surgical Lamp | Heraeus | Hanaulux Oslo | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Loose connection between the socket and the light bulb. | 1 | 0
Kibosho Hospital/Moshi 4184140 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 40 | Dental Chair | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | There's a suction problem and plubbing problem | 0 | 1
Kibosho Hospital/Moshi 4184141 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 41 | Stethoscope | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | Diaphragm missing and was replaced. | 1 | 0
Kibosho Hospital/Moshi 4184142 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 42 | Stethoscope | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | Air tube change | 1 | 0
Kibosho Hospital/Moshi 4184143 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 43 | Stethoscope | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | Air tube change | 1 | 0
Kibosho Hospital/Moshi 4184144 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 44 | Stethoscope | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | Had to weld the broken piece onto the stethoscope. | 1 | 0
Kibosho Hospital/Moshi 4184145 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 45 | Stethoscope | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | Had to weld the broken piece onto the stethoscope. | 1 | 0
Kibosho Hospital/Moshi 4184146 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 46 | Transformer | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
Kibosho Hospital/Moshi 4184147 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 47 | Heater | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
Kibosho Hospital/Moshi 4184148 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 48 | Microscope | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Replace the batteries. | 1 | 0
Kibosho Hospital/Moshi 4184149 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 49 | Ultrasound | Siemens | Sonoline Prima | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | Gave a quick guide on how to write patient's name and how to label on the image. | 1 | 0
Kibosho Hospital/Moshi 4184150 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184151 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184152 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 52 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184153 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184154 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184155 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184156 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184157 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 57 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184158 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184159 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184160 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184161 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184162 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184163 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 63 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184164 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184165 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184166 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184167 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184168 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184169 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184170 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184171 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184172 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184173 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 73 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184174 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184175 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184176 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184177 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184178 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184179 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 79 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184180 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 80 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184181 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184182 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184183 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184184 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 84 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184185 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184186 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184187 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184188 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184189 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184190 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184191 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 91 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184192 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 92 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184193 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184194 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 94 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184195 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184196 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184197 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184198 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 4184199 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kibosho Hospital/Moshi 41841100 | Kibosho Hospital/Moshi | 2014-07-21 | John Asmal and Arihant Jain | Tanzania | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0