## Work Summary Form
|  |  | Engineering World Health | [8 empty] | The Prizery, Suite 200
302 East Pettigrew Street
Durham, NC 27701
|  | Complete electronically if possible | [9 empty] | www.ewh.org
* REQUIRED FIELD
| *DATE | 2014-08-01 |  |  | *ENGINEER NAME(S) |  |  |  |  | Charlotte and Sarah
| *COUNTRY | Tanzania |  |  | *Hospital/CITY |  |  |  |  | Mt. Meru
| EQUIPMENT INFORMATION |  |  |  | NATURE OF THE PROBLEM & SOLUTION | [7 empty] | Results
| Equipment TYPE (select the type from the EWH equipment types) | Manufacturer | Model | Serial Number | Plumbing | Motor | Electric Simple | Mechanical Simple | Power Supply | Intallation/Training | Other | Notes | Repaired | Abandoned
GUIDE
1 | Oxygen Concentrator | Nidex | Marks Nuvo8 | 413 |  |  |  |  | 1 |  |  | fixed broken power cord. | y
2 | Stethoscopes | [6 empty] | 1 |  |  |  | diafram placed thight | y
3 | Blood Pressure Device, Manual (Sphygmomanometer) (Fixed or portable) |  |  |  | 1 | [6 empty] | cannibiliced | y
4 | Blood Pressure Device, Manual (Sphygmomanometer) (Fixed or portable) |  |  |  | 1 | [6 empty] | cannibaliced | y
5 | Other | [5 empty] | 1 |  |  |  |  | Iron, brougt from home by staff | y
6 | Stethoscopes | [9 empty] | 1 | earplug replaced | y
7 | Scales (laboratory and in wards) | seca | [8 empty] | 1 | reaset | y
8 | Blood Pressure Device, Manual (Sphygmomanometer) (Fixed or portable) |  |  |  | 1 | [6 empty] | cannibaliced | y
9 | Other | [9 empty] | 1 | Nebulizer, woorked when we pluged it in | y
10 | Centrifuge | [6 empty] | 1 |  |  |  | needed a piece of rubber, to press down a bottom, that made it turn on | y
11 | Other | [6 empty] | 1 |  |  |  | wheel chair, presed a rubber part back into place | y
12 | Other | [6 empty] | 1 |  |  |  | bought screws, to put a door handle back in place | y
13 | Hot Plate (laboratory, but not kitchen) | [7 empty] | 1 |  |  | replaced plug | y
14 | Oxygen Concentrator | [5 empty] | 1 | 1 |  |  |  | got it to stop noice, stoped the noise, but saw that the big fan did not work, so we replaced it with | y
15 | Other | [6 empty] | 1 |  |  |  | Wheel chair, reattaced seet | y
16 | Other | [5 empty] | 1 |  |  |  |  | water boiler, strengthen connection from power supply to can. | y
17 | Other | [6 empty] | 1 |  |  |  | monitor system, oximitor cord had broken, we put it back together, and had to strengthen the connection with a coating of hipoxi. | y
18 | Other | ProMdix tm | 71000A2 | 190395192 |  |  |  |  | 1 |  |  | bought batteries for oximeter, 3X 1.5V C batteries | y
19 | Blood Pressure Device, Manual (Sphygmomanometer) (Fixed or portable) | [6 empty] | 1 | [5 empty] | n
20 | Blood Pressure Device, Manual (Sphygmomanometer) (Fixed or portable) | [6 empty] | 1 | [5 empty] | n
21 | Blood Pressure Device, Manual (Sphygmomanometer) (Fixed or portable) | [6 empty] | 1 | [5 empty] | n
22 | Blood Pressure Device, Automatic (NIBP) | [9 empty] | 1 | keept having an error message. |  | n
23 | Other | [9 empty] | 1 | water boiler, striped screws, so we could not diagnose |  | n
24 | Other | [9 empty] | 1 | Suction Machine, works until you turn it up to much |  | n
25 | Incubator (infant) | [9 empty] | 1 | tried to fix, but the heating element does not heat enough, and the humidifier can not boil the water. The divice is only manually controled. |  | n
26 | Blood Pressure Device, Automatic (NIBP) | [9 empty] | 1 | The manual air pump was leaking, so was replaced by new one. | y
27 | Blood Pressure Device, Manual (Sphygmomanometer) (Fixed or portable) | [6 empty] | 1 |  |  |  | turned the display. | y
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100

## Equipment Categories
Air Compressor
Air Conditioner
Anesthesia Machine
Aspirator/Suction Machine
Autoclave (lab, surgery, and other)
Automatic Voltage Regulator
Bed, delivery
Blood Bank Refrigerator
Blood clotting time meter
Blood electrolyte analyzer
Blood Gas Analyzer
Blood Pressure Device, Automatic (NIBP)
Blood Pressure Device, Manual (Sphygmomanometer) (Fixed or portable)
Bottle Washing Machine
Breast Pump
Capnograph
Ceiling Fan
Centrifuge
Centrifuge (electric or hand operated)
Change Over Switch
Computer
Control Switch Panel
Defibrillator (automatic and manual)
Dental Drilling Machine
Dialysis Equipment
Distiller
Drying Machine
ECG Machine
Electrosurgery Unit (ESU)
Fetal steth (fetoscope or Doppler)
Fluoroscopy (x-ray moving images)
Furniture (chairs, tables, and beds)
Generator
Glucose level kit (or glucometer)
Heart Lung Machine
Hot Plate (laboratory, but not kitchen)
Incubator (infant)
Infant Warmer (radiant or other)
Infusion pumps
Iron (for clothing)
Lamp, examination
Lamp, surgical
Laryngoscope
Microscope
Operating Table
Ophthalmoscope (eye examination instrument)
Otoscopes
Oven (laboratory, not kitchen)
Oxygen Concentrator
Pacemaker (ext, temp and permanent)
Photocopier
Phototherapy device
Printer
Projector
Pulse Oximeter
Respiration monitor (apnea monitor)
Scales (laboratory and in wards)
Shaker Machine (laboratory)
Skin Grafting Machine (dermatome)
Spectrophotometer/Colorimeter
Stethoscopes
Telephone
Television
Thermometers
Transformer
Ultrasound Machine (imaging)
UPS (battery backup for computer)
Vaccine Refrigerator
Vacuum Extractor (for delivery)
Washing Machine
Water Bath (laboratory)
Water Pump (for drinking water)
Water Purifier (for lab, in wards)
X-Ray Film Dryer
X-Ray Film View Box
X-Ray Machine
Other

## Reports
Repair ID | Hospital | Date | Engineers | Country | Entry # | Equipment TYPE (select the type from the EWH equipment types) | Manufacturer | Model | Serial Number | Plumbing | Motor | Electric Simple | Mechanical Simple | Power Supply | Intallation/Training | Other | Notes | Repaired | Abandoned
Mt. Meru418521 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 1 | Oxygen Concentrator | Nidex | Marks Nuvo8 | 413 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | fixed broken power cord. | y | 0
Mt. Meru418522 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 2 | Stethoscopes | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | diafram placed thight | y | 0
Mt. Meru418523 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 3 | Blood Pressure Device, Manual (Sphygmomanometer) (Fixed or portable) | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | cannibiliced | y | 0
Mt. Meru418524 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 4 | Blood Pressure Device, Manual (Sphygmomanometer) (Fixed or portable) | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | cannibaliced | y | 0
Mt. Meru418525 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 5 | Other | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Iron, brougt from home by staff | y | 0
Mt. Meru418526 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 6 | Stethoscopes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | earplug replaced | y | 0
Mt. Meru418527 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 7 | Scales (laboratory and in wards) | seca | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | reaset | y | 0
Mt. Meru418528 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 8 | Blood Pressure Device, Manual (Sphygmomanometer) (Fixed or portable) | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | cannibaliced | y | 0
Mt. Meru418529 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 9 | Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Nebulizer, woorked when we pluged it in | y | 0
Mt. Meru4185210 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 10 | Centrifuge | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | needed a piece of rubber, to press down a bottom, that made it turn on | y | 0
Mt. Meru4185211 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 11 | Other | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | wheel chair, presed a rubber part back into place | y | 0
Mt. Meru4185212 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 12 | Other | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | bought screws, to put a door handle back in place | y | 0
Mt. Meru4185213 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 13 | Hot Plate (laboratory, but not kitchen) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | replaced plug | y | 0
Mt. Meru4185214 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 14 | Oxygen Concentrator | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | got it to stop noice, stoped the noise, but saw that the big fan did not work, so we replaced it with | y | 0
Mt. Meru4185215 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 15 | Other | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | Wheel chair, reattaced seet | y | 0
Mt. Meru4185216 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 16 | Other | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | water boiler, strengthen connection from power supply to can. | y | 0
Mt. Meru4185217 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 17 | Other | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | monitor system, oximitor cord had broken, we put it back together, and had to strengthen the connection with a coating of hipoxi. | y | 0
Mt. Meru4185218 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 18 | Other | ProMdix tm | 71000A2 | 190395192 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | bought batteries for oximeter, 3X 1.5V C batteries | y | 0
Mt. Meru4185219 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 19 | Blood Pressure Device, Manual (Sphygmomanometer) (Fixed or portable) | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | n
Mt. Meru4185220 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 20 | Blood Pressure Device, Manual (Sphygmomanometer) (Fixed or portable) | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | n
Mt. Meru4185221 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 21 | Blood Pressure Device, Manual (Sphygmomanometer) (Fixed or portable) | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | n
Mt. Meru4185222 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 22 | Blood Pressure Device, Automatic (NIBP) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | keept having an error message. | 0 | n
Mt. Meru4185223 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 23 | Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | water boiler, striped screws, so we could not diagnose | 0 | n
Mt. Meru4185224 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 24 | Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Suction Machine, works until you turn it up to much | 0 | n
Mt. Meru4185225 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 25 | Incubator (infant) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | tried to fix, but the heating element does not heat enough, and the humidifier can not boil the water. The divice is only manually controled. | 0 | n
Mt. Meru4185226 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 26 | Blood Pressure Device, Automatic (NIBP) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | The manual air pump was leaking, so was replaced by new one. | y | 0
Mt. Meru4185227 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 27 | Blood Pressure Device, Manual (Sphygmomanometer) (Fixed or portable) | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | turned the display. | y | 0
Mt. Meru4185228 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185229 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185230 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185231 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185232 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185233 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185234 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185235 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185236 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185237 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185238 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185239 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185240 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185241 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185242 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185243 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185244 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185245 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185246 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185247 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185248 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185249 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185250 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185251 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185252 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 52 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185253 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185254 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185255 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185256 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185257 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 57 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185258 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185259 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185260 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185261 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185262 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185263 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 63 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185264 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185265 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185266 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185267 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185268 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185269 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185270 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185271 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185272 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185273 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 73 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185274 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185275 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185276 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185277 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185278 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185279 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 79 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185280 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 80 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185281 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185282 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185283 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185284 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 84 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185285 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185286 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185287 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185288 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185289 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185290 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185291 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 91 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185292 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 92 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185293 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185294 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 94 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185295 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185296 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185297 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185298 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru4185299 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt. Meru41852100 | Mt. Meru | 2014-08-01 | Charlotte and Sarah | Tanzania | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0