## Work Summary Form
|  |  | Engineering World Health | [8 empty] | The Prizery, Suite 200
302 East Pettigrew Street
Durham, NC 27701
www.ewh.org
Contacto: Inka Johnson, inka@ewh.org
| FECHA | 16/7/2015 |  |  | INGENIEROS |  |  |  |  | MEGGIE LUND, VAISHALI OZA
| PAIS | Nicaragua |  |  | *Hospital/CIUDAD |  |  |  |  | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE
| INFORMACION DE EQUIPOS |  |  |  | PROBLEMA Y SOLUCIÓN | [7 empty] | RESULTADO
| TIPO DE EQUIPO | FABRICANTE | MODELO | NÚMERO DE SERIE | PLOMERÍA | MOTOR | ELECTRICO (SIMPLE) | MECANICO (SIMPLE) | FUENTE | INSTALACIÓN/FORMACIÓN | OTRO | NOTAS | REPARADO | DEJADO
1 | Centrifuge | Presvac | DCS-16RTV | 7810 |  |  |  | 1 |  |  |  | carbones nuevos | 1
2 | Centrifuge | Miami Medical | 3411 | 819100 |  |  |  | 1 |  |  |  | carbones nuevos y balineras | 1
3 | Incubator (infant) | Aerogen | N/A | N/A |  |  | 1 |  |  |  |  | la maquina no calienta, no pudimos reparar porque hay un garantia |  | 1
4 | Other | N/A | N/A | N/A |  | 1 | [5 empty] | el motor esta quemado |  | 1
5 | Pulse Oximeter | Nellcor Incorporated | N-100C | 100-01381121-C | [6 empty] | 1 | el doctor nos dijo que no funciona, pero trabaja cuando lo usamos | 1
6 | Other | Aerogen | Aeroneb Pro | N/A | [6 empty] | 1 | la tapa de los nebulazidores son malos porque ellos los lavaron mala |  | 1
7 | Pulse Oximeter | Acare Tech Company | AH-M1 | 12-100-0002 |  |  |  | 1 |  |  |  | uno fue reparado de CEMED en Managua, uno de nosotros, dos no podemos reparar, ahora la sala de operacion tiene tres que funcionan | 1
8 | Blood Bank Refrigerator | Tianhan | YC-260L |  |  |  |  | 1 |  |  |  | el refrigerador puede enfriar pero despues de treinta minutos es caliente otra vez |  | 1
9 | Scales (laboratory and in wards) | Detecto | [5 empty] | 1 |  |  |  | calibramos | 1
10 | ECG Machine | On Call Plus |  | 103A0222FF5 | [5 empty] | 1 |  | reprogramos a modo "AUTO"
11 | Blood electrolyte analyzer | EDAN | SE-3 | 31866-K12100890001 | [5 empty] | 1 |  | funciona cuando tratamos
12 | Air Compressor | MADA Medical | 180 | NB12I00098 |  |  | 1 |  |  |  |  | necesita una enchufa nueva
13 | Laryngoscope | [5 empty] | 1 |  |  |  |  | baterias nuevas y reparamos la coneccion
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100

## Equipment Categories
Air Compressor
Air Conditioner
Anesthesia Machine
Aspirator/Suction Machine
Autoclave (lab, surgery, and other)
Automatic Voltage Regulator
Bed, delivery
Blood Bank Refrigerator
Blood clotting time meter
Blood electrolyte analyzer
Blood Gas Analyzer
Blood Pressure Device, Automatic (NIBP)
Blood Pressure Device, Manual (Sphygmomanometer) (Fixed or portable)
Bottle Washing Machine
Breast Pump
Capnograph
Ceiling Fan
Centrifuge
Centrifuge (electric or hand operated)
Change Over Switch
Computer
Control Switch Panel
Defibrillator (automatic and manual)
Dental Drilling Machine
Dialysis Equipment
Distiller
Drying Machine
ECG Machine
Electrosurgery Unit (ESU)
Fetal steth (fetoscope or Doppler)
Fluoroscopy (x-ray moving images)
Furniture (chairs, tables, and beds)
Generator
Glucose level kit (or glucometer)
Heart Lung Machine
Hot Plate (laboratory, but not kitchen)
Incubator (infant)
Infant Warmer (radiant or other)
Infusion pumps
Iron (for clothing)
Lamp, examination
Lamp, surgical
Laryngoscope
Microscope
Operating Table
Ophthalmoscope (eye examination instrument)
Otoscopes
Oven (laboratory, not kitchen)
Oxygen Concentrator
Pacemaker (ext, temp and permanent)
Photocopier
Phototherapy device
Printer
Projector
Pulse Oximeter
Respiration monitor (apnea monitor)
Scales (laboratory and in wards)
Shaker Machine (laboratory)
Skin Grafting Machine (dermatome)
Spectrophotometer/Colorimeter
Stethoscopes
Telephone
Television
Thermometers
Transformer
Ultrasound Machine (imaging)
UPS (battery backup for computer)
Vaccine Refrigerator
Vacuum Extractor (for delivery)
Washing Machine
Water Bath (laboratory)
Water Pump (for drinking water)
Water Purifier (for lab, in wards)
X-Ray Film Dryer
X-Ray Film View Box
X-Ray Machine
Otro
Ventilador/Respirador
Monitor de Paciente
Capnógrafo
Máquina de Anestesia
Oxímetro de pulso
Bomba de Infusión
Desfibrilador
Báscula de peso
sistema de cámara de vídeo
torniquete inflable
Calentador infantil
Cama ajustable
lavadora de botellas para los bebés
Calentador de líquidos
cortadora de pan
Horno para pan
máquina de tortillas
máquina de diálisis (en el sótano)

## Reports
Repair ID | Hospital | Date | Engineers | Country | Entry # | TIPO DE EQUIPO | FABRICANTE | MODELO | NÚMERO DE SERIE | PLOMERÍA | MOTOR | ELECTRICO (SIMPLE) | MECANICO (SIMPLE) | FUENTE | INSTALACIÓN/FORMACIÓN | OTRO | NOTAS | REPARADO | DEJADO
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/20151 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 1 | Centrifuge | Presvac | DCS-16RTV | 7810 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | carbones nuevos | 1 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/20152 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 2 | Centrifuge | Miami Medical | 3411 | 819100 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | carbones nuevos y balineras | 1 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/20153 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 3 | Incubator (infant) | Aerogen | N/A | N/A | 0 | 0 | 1 | 0 | 0 | 0 | 0 | la maquina no calienta, no pudimos reparar porque hay un garantia | 0 | 1
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/20154 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 4 | Other | N/A | N/A | N/A | 0 | 1 | 0 | 0 | 0 | 0 | 0 | el motor esta quemado | 0 | 1
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/20155 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 5 | Pulse Oximeter | Nellcor Incorporated | N-100C | 100-01381121-C | 0 | 0 | 0 | 0 | 0 | 0 | 1 | el doctor nos dijo que no funciona, pero trabaja cuando lo usamos | 1 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/20156 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 6 | Other | Aerogen | Aeroneb Pro | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 1 | la tapa de los nebulazidores son malos porque ellos los lavaron mala | 0 | 1
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/20157 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 7 | Pulse Oximeter | Acare Tech Company | AH-M1 | 12-100-0002 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | uno fue reparado de CEMED en Managua, uno de nosotros, dos no podemos reparar, ahora la sala de operacion tiene tres que funcionan | 1 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/20158 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 8 | Blood Bank Refrigerator | Tianhan | YC-260L | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | el refrigerador puede enfriar pero despues de treinta minutos es caliente otra vez | 0 | 1
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/20159 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 9 | Scales (laboratory and in wards) | Detecto | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | calibramos | 1 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201510 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 10 | ECG Machine | On Call Plus | 0 | 103A0222FF5 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | reprogramos a modo "AUTO" | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201511 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 11 | Blood electrolyte analyzer | EDAN | SE-3 | 31866-K12100890001 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | funciona cuando tratamos | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201512 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 12 | Air Compressor | MADA Medical | 180 | NB12I00098 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | necesita una enchufa nueva | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201513 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 13 | Laryngoscope | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | baterias nuevas y reparamos la coneccion | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201514 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201515 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201516 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201517 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201518 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201519 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201520 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201521 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 21 | 0 | 0 | 0 | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201522 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201523 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201524 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201525 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201526 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201527 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201528 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 28 | 0 | 0 | 0 | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201529 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201530 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201531 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201532 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201533 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201534 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201535 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201536 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201537 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201538 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201539 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201540 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201541 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201542 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201543 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201544 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201545 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201546 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201547 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201548 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201549 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201550 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201551 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201552 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 52 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201553 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201554 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201555 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201556 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201557 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 57 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201558 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201559 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201560 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201561 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201562 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201563 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 63 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201564 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201565 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201566 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201567 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201568 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201569 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201570 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201571 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201572 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201573 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 73 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201574 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201575 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201576 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201577 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201578 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201579 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 79 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201580 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 80 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201581 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201582 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201583 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201584 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 84 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201585 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201586 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201587 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201588 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201589 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201590 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201591 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 91 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201592 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 92 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201593 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201594 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 94 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201595 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201596 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201597 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201598 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/201599 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE 16/7/2015100 | (CARAZO) HOSPITAL REGIONAL SANTIAGO JINOTEPE | 16/7/2015 | MEGGIE LUND, VAISHALI OZA | Nicaragua | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0